First results from the PEBS testbeam at CERN
23-31 October 2007
Henning Gast
Acknowledgments:
Testbeam crew:
Bastian Beischer, Chan Hoon Chung, Roman Greim, Thomas Kirn, Sonia Natale, Gregorio Roper, Georg Schwering, Nikolas Zimmermann
Slow control:
Philip von Doetinchem
Aachen workshops:
B. Debye, M. Dohmen, F. Gillessen, H. Hammers, W. Karpinski,
G. Kirchhoff, F. Müller, H. Müller, M. Wlochal
INFN Perugia:
Giovanni Ambrosi, Philippe Azzarello
CERN T9:
Lau Gatignon
I. Physikalisches Institut B, RWTH Aachen, 2 November 2007

---
32x5 round fibers, d=250µm, no EMA
2x3x10 square fibers, d=300µm
AMS Tracker ladder
AMS Tracker ladder
finger trigger
finger trigger

---
32-fiber module

---
Last year's fiber bunches
Humidity < 5%
SiPM copper blocks cooled to -16°C / -13 °C

---
Beam telescope and beam spot
K
picture of finger triggers in beam telescope
S
K: direction of fibers

---
Beam telescope statistics
“Good” event:
one cluster >20 ADC on S and K sides each for two ladders
all clusters
ADC >20
upbeam ladder, includes random trigger events

---
Old fiber bunches in beam telescope
Position in beam telescope for SiPM with > 2 photo electrons
Determine positions of fibers from data
Hamamatsu SiPMs
Photonique SiPMs

---
Fiber spacing in old bunches
nominal fiber pitch: 300 µm plus glue
slope: 306.2 µm
residual plot
second bunch: 303.9 µm

---
Example of a Hamamatsu SiPM in old fiber bunch
Automated peak finder for calibration of SiPM:
ADC → number of photo electrons,
pedestal
signal distribution:
cut on fiber position
ADC
log(entries)

---
Example of a Photonique SiPM in old fiber bunch
ADC
log(entries)

---
Example of a Hamamatsu SiPM in 32-fiber module
ADC
log(entries)

---
Correlations between the two old fiber bunches
Idea: use one fiber bunch as beam telescope for the other one

---
Crosstalk in 32-fiber module ?
for comparison: old fiber bunch
readout pitch: 110 µm

---
Conclusions and outlook
Overall readout rate almost an order of magnitude lower than last year:
more ADCs in CAMAC, fewer spills, more beam-down time.
Problems combining AMS and CAMAC readouts.
Analysis ongoing, especially of 32-fiber module replacement.
Results seem to indicate diminished performance of bunch of square fibers compared to last year.
Performance of 32-fiber module(s) leaves to be desired.